Critical System Information

# 1. Contact details

| Company: |  | Contact person: |  |
| --- | --- | --- | --- |
| City, country: |  | Phone: |  |
| Fax: |  | E-mail: |  |

# 2. Feed water source

| City water □ | Well water □ | Sea water, open intake □ | Sea water, beach well □ |
| --- | --- | --- | --- |
| Lake □ | River □ | Canal □ | Tertiary Effluent □ |

| Other □ please specify: |  |
| --- | --- |

# 3.	Pretreatment

| □ | Sodium hypochlorite | □ | Gravity sand filter Quantity Configuration: Serial or parallel |
| --- | --- | --- | --- |
| □ | Chloramines | □ | Pressure sand filter Quantity Configuration: Serial or parallel |
| □ | Chlorine dioxide | □ | Green sand filter Quantity Configuration: Serial or parallel |
| □ | Ozone | □ | Activated carbon filter Quantity Configuration: Serial or parallel |
| □ | Clarifier | □ | Micro Filtration (membranes) Membrane manufacturer and model: |
| □ | Lime softening | □ | Ultra Filtration Membrane manufacturer and model: |
| □ | Softening by Ion exchange resin | □ | Feed water heatexchanger |
| □ | Dealkalization by Ion exchange resin | □ | Cartridge filter: Number of housings: Configuration: serial or parallel pore size _ um Exchange frequency:---------------- Type: |
| □ | Multi media filter Quantity Configuration: Serial or parallel | □ | Other: please specify |

# 4.	Chemicals used in pretreatment

| Chlorine residual | Feed point: Dose rate: | ---- ppm residual prior to neutralization | □ Bisulfite , ----- ppm Feed point |
| --- | --- | --- | --- |
| Corrosion inhibitors | □ no | □ yes Product name: ………………………………. Dose rate: ……………………………………. Feed point: …………………………………… |  |
| Flocculants/coagulants | □ alum □ PAC Feed point: Dose rate: | □ Ferric chloride □ Ferric sulfate Feed point: Dose rate: | □ Organic polymer Product name: ………………………………… Feed point: Dose rate: |
| On-line shock dosing | □ yes Product name: Dose rate and frequency: | □ no | Feed point: |
| Acidification | □ yes, to pH | □ sulfuric acid □ hydrochloric acid □ CO2 □ other. Please indicate | Feed point: |
|  | □ no |  |  |
| Antiscalant | Product name: | Dose rate: | Feed point: |
| Other chemicals, please specify | Product name | Dose rate: | Feed point: |

# 5.	Post treatment

| pH adjustment | □ yes, to pH | □ sulfuric acid □ hydrochloric acid □ caustic □ other. Please indicate | Feed point and dose rate: |
| --- | --- | --- | --- |
| Chlorine | yes | Dose rate | Feed point |
| Corrosion control | yes | Product | Feed point and dose rate |
| Remineralization | yes | Product | Feed point and dose rate |
| Other: |  |  |  |

# 6.	RO/NF design

| RO □ yes | NF □ yes |
| --- | --- |
| Number of trains: |  |

6.1	Configuration

| Number of stages: |  |
| --- | --- |
| Number of pressure vessels in each stage: |  |
| Amount of elements per pressure vessel: |  |
| Membrane element type at start-up: |  |
| Membrane element type currently installed |  |
| Start-up date RO/NF system: |  |
| Age of the membrane elements |  |
| Membrane replacement frequency |  |
| Permeate flow (m3/hr, gpm) |  |
| Recovery, % |  |

6.2	Permeate application

| □ | Potable water | □ | Boiler feed water |
| --- | --- | --- | --- |
| □ | Irrigation water | □ | Process water` |
| □ | Other: |  |  |

# 7.	RO/NF Operation

| Is the RO/NF unit in continuous operation | Yes □ | No □ |
| --- | --- | --- |

| How often is the RO/NF system shutdown (times per day, and length of shutdown (hours/days) |  |
| --- | --- |

| How often is the RO/NF system shutdown |  |
| --- | --- |
| What is the duration of a shutdown (minutes/hours/days) |  |

| Is a flush carried out prior to shutdown | Yes □ | No □ |
| --- | --- | --- |
| What kind of water is used for the flush | Raw feed water □ | Pretreated feed water □ |
|  | Permeate □ | Other □: please specify: |

# 8.	Comments on current operation and performance trend

| Permeate quality: |  |
| --- | --- |
| Permeate flow: |  |
| Pressure drop |  |
| Cleaning frequency: |  |
| Other: |  |

# 9.	Feed water, concentrate, permeate analysis

| Temperature, °F or °C |  | Feed water SDI |  |
| --- | --- | --- | --- |
| pH raw water |  | pH feed water |  |

Units:	□ mg/l ion	□ meq/l	   □ ppm CaCO3   □ Other, please indicate

Feed water

| NH4 |  | HCO3 |  |
| --- | --- | --- | --- |
| K |  | NO3 |  |
| Na |  | Cl |  |
| Mg |  | F |  |
| Ca |  | SO4 |  |
| Sr |  | SiO2 |  |
| Ba |  | Boron |  |
| Fe |  | PO4 |  |
| Mn |  | TOC |  |
| Al |  | TBC, cfu/ml |  |
| Conductivity |  | TDS |  |
| pH |  | TSS |  |
| BOD |  | COD |  |
| Oil & Grease |  |  |  |

Permeate

| NH4 |  | HCO3 |  |
| --- | --- | --- | --- |
| K |  | NO3 |  |
| Na |  | Cl |  |
| Mg |  | F |  |
| Ca |  | SO4 |  |
| Sr |  | SiO2 |  |
| Ba |  | Boron |  |
| Fe |  | PO4 |  |
| Mn |  | TOC |  |
| Al |  | TBC, cfu/ml |  |
| Conductivity |  | TDS |  |
| pH |  | TSS |  |
| BOD |  | COD |  |
| Oil & Grease |  |  |  |

Concentrate

| NH4 |  | HCO3 |  |
| --- | --- | --- | --- |
| K |  | NO3 |  |
| Na |  | Cl |  |
| Mg |  | F |  |
| Ca |  | SO4 |  |
| Sr |  | SiO2 |  |
| Ba |  | Boron |  |
| Fe |  | PO4 |  |
| Mn |  | TOC |  |
| Al |  | TBC, cfu/ml |  |
| Conductivity |  | TDS |  |
| pH |  | TSS |  |
| BOD |  | COD |  |
| Oil & Grease |  |  |  |

# 10.	Cleaning

What is the reason for cleaning? □ pressure drop increase □ permeate flow decline □ salt passage increase □ Other, please specify

Are stages cleaned separate? □ yes □ no

Is cleaning solution heated? □ yes □ no

Is CIP unit equipped with cleaning pump □ yes □ no

Is CIP unit equipped with cartridge filters □ yes □ no

Which cleaning method is applied? Please indicate which methods are applied. □ acid, please specify which product □ alkaline, please specify which product □ biocide, please specify which product □ Other, please specify which product

Please indicate in which order the cleaning chemicals are applied: For instance: alkaline followed by acid . RO permeate flush after each cleaning Describe the cleaning procedure:

What kind of water is used for the dilution of the cleaning chemicals? □ RO permeate □ RO/NF feed water □ NF permeate □ City water □ Raw water □ Other, please specify

What is the flow rate during cleaning? Please indicate which unit □gpm □m3/hr □other, please indicate which unit ----- Stage 1: ------------- Stage 2: ---------- Stage 3: ------------- Other:

# 11.	RO/NF system operating data

| Customer: |  | Site: |  |
| --- | --- | --- | --- |
| Train: |  | Membrane element type: |  |
| Total hours of operation: |  |  |  |

|  | Design specification | Start-up date Month/Day/Year | Date Month/Day/Year | Date ( prior to collecting of water samples) Month/Day/Year |
| --- | --- | --- | --- | --- |
| Feed water Temperature, °F or °C |  |  |  |  |
| Feed pressure, psi or bar |  |  |  |  |
| Concentrate Pressure stage 1, psi or bar |  |  |  |  |
| Pressure drop stage 1 psi or bar |  |  |  |  |
| Permeate pressure stage 1 , psi or bar |  |  |  |  |
| Concentrate pressure stage 2 , psi or bar |  |  |  |  |
| Pressure drop stage 2, psi or bar |  |  |  |  |
| Permeate pressure stage 2, psi or bar |  |  |  |  |
| Concentrate pressure stage 3, psi or bar |  |  |  |  |
| Pressure drop stage 3, psi or bar |  |  |  |  |
| Permeate pressure stage 3, psi or bar |  |  |  |  |
| Combined permeate pressure , psi or bar |  |  |  |  |
| Feed flow, gpm or m3/hr |  |  |  |  |
| Concentrate flow, gpm or m3/hr |  |  |  |  |

|  | Design specification | Start-up date Month/Day/Year | Date Month/Day/Year | Date ( prior to collecting of water samples) Month/Day/Year |
| --- | --- | --- | --- | --- |
| Permeate flow, gpm or m3/hr |  |  |  |  |
| Permeate flow stage 1, gpm or m3/hr |  |  |  |  |
| Permeate flow stage 2, gpm or m3/hr |  |  |  |  |
| Permeate flow stage 3, gpm or m3/hr |  |  |  |  |
| Raw water pH |  |  |  |  |
| Feed Water pH |  |  |  |  |
| Feed conductivity uS/cm |  |  |  |  |
| Feed TDS |  |  |  |  |
| Concentrate conductivity uS/cm |  |  |  |  |
| Concentrate TDS |  |  |  |  |
| Permeate conductivity uS/cm |  |  |  |  |
| Permeate TDS |  |  |  |  |

# 12.	Attachments

| Process Flow Diagram | Yes □ | No □ |
| --- | --- | --- |
| Normalization data | Yes □ | No □ |
| Membrane element serial numbers | Yes □ | No □ |
| Analytical reports | Yes □ | No □ |

Other, please indicate